## Sheet1
%,FCURRENCY_CD,VUSD,V,FPRODUCT,TBUS_ENTITY,NELECTRIC | %,LSTATS,SPER | %,LSTATS,SPER-1YR |  |  | %,LSTATS,SFYTD | %,LSTATS,SFYTD-1YR |  |  | %,LSTATS,S12MO |  | %,LSTATS,S12MO-1 |  |  |  | %,LSTATS,SPER | %,LSTATS,SPER-1 | %,LSTATS,SPER-2 | %,LSTATS,SPER-3 | %,LSTATS,SPER-4 | %,LSTATS,SPER-5 | %,LSTATS,SPER-6 | %,LSTATS,SPER-7 | %,LSTATS,SPER-8 | %,LSTATS,SPER-9 | %,LSTATS,SPER-10 | %,LSTATS,SPER-11 | %,LSTATS,SPER-12 | %,LSTATS,SPER-13 | %,LSTATS,SPER-14 | %,LSTATS,SPER-15 | %,LSTATS,SPER-16 | %,LSTATS,SPER-17 | %,LSTATS,SPER-18 | %,LSTATS,SPER-19 | %,LSTATS,SPER-20 | %,LSTATS,SPER-21 | %,LSTATS,SPER-22 | %,LSTATS,SPER-23
| Form 441B |  | City Utilities of Springfield | [6 empty] | HIDDEN | HIDDEN |  | September, 2021 | September, 2021
|  |  | Electric Statistics | [10 empty] | 2021-09-30
12
2021
| Month of September |  |  |  | Fiscal Year to Date Through September 30 |  |  |  | Twelve Months Ended September 30
|  |  | Change from |  |  |  | Change from | % |  |  |  | Change from
| This Year | Last Year | Last Year |  | This Year | Last Year | Last Year | Change | This Year |  | Last Year | Last Year | Notes
%,FACCOUNT,V036020 | 197 | 203 | -6 | New Meter Sets Connected | 2189 | 2010 | 179 | 8.9055 | 2189 |  | 2010 | 179 |  |  | 197 | 122 | 138 | 214 | 109 | 226 | 206 | 144 | 275 | 214 | 176 | 168 | 203 | 172 | 196 | 162 | 140 | 150 | 185 | 129 | 178 | 144 | 145 | 206
%,FACCOUNT,V036030 | 413 | 383 | 30 | Read and Change Name | 4670 | 6518 | -1848 | -28.3523 | 4670 |  | 6518 | -1848 |  |  | 413 | 520 | 330 | 704 | 323 | 312 | 347 | 464 | 362 | 279 | 281 | 335 | 383 | 416 | 491 | 557 | 378 | 295 | 451 | 509 | 687 | 646 | 650 | 1055
%,FACCOUNT,V036040 | 212 | 263 | -51 | Total Customers Connected/Disconnected | 2367 | 4621 | -2254 | -48.7773 | 2367 |  | 4621 | -2254 |  |  | 212 | 219 | 212 | 226 | 211 | 172 | 223 | 91 | 123 | 164 | 189 | 325 | 263 | 550 | 222 | 261 | 202 | 183 | 335 | 348 | 476 | 396 | 516 | 869
| 92 | 77 | 15 | Net Gain (Loss) in Customers | 1368 | 894 | 474 | 53.0201 | 1368 |  | 894 | 474
%,FACCOUNT,V036050 | 118694 | 117326 | 1368 | Total Customers | 118694 | 117326 | 1368 | 1.166 | 118694 |  | 117326 | 1368 |  |  | 118694 | 118602 | 118604 | 118487 | 118373 | 118361 | 118183 | 118123 | 118029 | 117798 | 117607 | 117470 | 117326 | 117249 | 117297 | 117353 | 117278 | 117185 | 117059 | 117029 | 116969 | 116844 | 116737 | 116581
%,FACCOUNT,V036060 | 27161 | 26993 | 168 | Transformers in Service | 27161 | 26993 | 168 | 0.62238 | 27161 |  | 26993 | 168 |  |  | 27161 | 27121 | 27114 | 27121 | 27124 | 27102 | 27101 | 27079 | 27071 | 27069 | 27061 | 27006 | 26993 | 26998 | 26981 | 26429 | 26398 | 26264 | 26321 | 26031 | 26031 | 25859 | 25856 | 25879
%,FACCOUNT,V036070 | 1951566 | 1897578 | 53988 | kV Capacity of Transformers | 1951566 | 1897578 | 53988 |  | 1951566 |  | 1897578 | 53988 |  |  | 1951566 | 1946241 | 1940115 | 1934097 | 1928502 | 1925557 | 1924787 | 1916007 | 1910992 | 1910544 | 1906551 | 1901965 | 1897578 | 1897128 | 1893583 | 1839433.5 | 1835806 | 1819052 | 1821362 | 1812814 | 1794371 | 1781496 | 1780196 | 1780953
| 1951566 | 1897578 | 53988 | kVA Capacity of Transformers | 1951566 | 1897578 | 53988 | 2.8451 | 1951566 |  | 1897578 | 53988
%,FACCOUNT,V036080 | 22864 | 22577 | 287 | Street Lights in Service | 22864 | 22577 | 287 | 1.2712 | 22864 |  | 22577 | 287 |  |  | 22864 | 22864 | 22864 | 22864 | 22849 | 22842 | 22825 | 22823 | 22778 | 22744 | 22739 | 22720 | 22577 | 22555 | 22491 | 22482 | 22444 | 22441 | 22439 | 22424 | 22421 | 22400 | 22396 | 22392
%,FACCOUNT,V036340 | 567.01 | 553.91 | 13.1 | Miles of Underground Distribution Line | 567.01 | 553.91 | 13.1 | 2.365 | 567.01 |  | 553.91 | 13.1 |  |  | 567.01 | 566.49 | 565.54 | 563.21 | 561.26 | 560.64 | 560.32 | 559.9 | 558.87 | 556.45 | 555.35 | 554.16 | 553.91 | 553.72 | 553.07 | 551.57 | 548.4 | 548.08 | 547.13 | 545.82 | 544.58 | 543.81 | 543.63 | 543.15
%,FACCOUNT,V036330 | 1269.75 | 1269.12 | 0.63 | Miles of Overhead Distribution Line | 1269.75 | 1269.12 | 0.63 | - | 1269.75 |  | 1269.12 | 0.63 |  |  | 1269.75 | 1269.76 | 1270.1 | 1270.13 | 1270.03 | 1270 | 1270.02 | 1269.97 | 1270.06 | 1270.05 | 1269.16 | 1268.97 | 1269.12 | 1269.51 | 1269.64 | 1269.9 | 1270.55 | 1268.74 | 1268.87 | 1268.87 | 1269.33 | 1269.46 | 1269.39 | 1269.38
| 1836.76 | 1823.03 | 13.73 | Total Miles of Distribution Line | 1836.76 | 1823.03 | 13.73 | 0.75314 | 1836.76 |  | 1823.03 | 13.73
%,FACCOUNT,V036354 | 92.22 | 92.22 |  | Miles of 69kV Transmission Line | 92.22 | 92.22 |  | - | 92.22 |  | 92.22 |  |  |  | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.24 | 92.24 | 92.24
%,FACCOUNT,V036352 | 73.65 | 73.65 |  | Miles of 161kV Transmission Line | 73.65 | 73.65 |  | - | 73.65 |  | 73.65 |  |  |  | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.91 | 73.91 | 73.91 | 73.91 | 73.91 | 73.91 | 73.91
%,FACCOUNT,V036350 | 44.2 | 44.21 | -0.01 | Miles of 345kV Transmission Line | 44.2 | 44.21 | -0.01 | - | 44.2 |  | 44.21 | -0.01 |  |  | 44.2 | 44.2 | 44.2 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21
| 210.07 | 210.08 | -0.01 | Total Miles of Transmission Line | 210.07 | 210.08 | -0.01 | - | 210.07 |  | 210.08 | -0.01
| 636000 | 598000 | 38000 | Maximum Hourly Peak Load Used | 720000 | 697000 | 23000 | 3.2999 | 720000 |  | 697000 | 23000
| 62.75 | 60.86 | 1.89 | Load Factor Percent | 50.68 | 50.42 | 0.26 | 0.51567 | 50.68 |  | 50.42 | 0.26
%,FACCOUNT,V036120 | 270 | 169 | 101 | Cooling Degree Days - Actual | 1574 | 1453 | 121 | 8.3276 | 1574 |  | 1453 | 121 |  |  | 270 | 451 | 398 | 322 | 73 | 14 | 0 | 0 | 0 | 0 | 4 | 42 | 169 | 354 | 481 | 331 | 58 | 15 | 8 | 0 | 0 | 0 | 0 | 37
%,FACCOUNT,V036260 | 196 | 173 | 23 | Cooling Degree Days - Normal | 1519 | 1389 | 130 | 9.3593 | 1519 |  | 1389 | 130 |  |  | 196 | 410 | 440 | 302 | 116 | 22 | 3 | 0 | 0 | 0 | 2 | 28 | 173 | 398 | 410 | 263 | 90 | 22 | 3 | 0 | 0 | 0 | 2 | 28
| 10429 | 10735 | -306 | BTU per kWh Generated * | 10562 | 10637 | -75 | -0.70509 | 10562 |  | 10637 | -75
Fuel And Purchased Power:
%,FACCOUNT,V036130 | -18.7 | -16.2 | -2.5 | Adjustment Mills per kWh | -18.7 | -16.2 | -2.5 | -15.4321 | -18.7 |  | -16.2 | -2.5 |  |  | -18.7 | -18.7 | -18.7 | -18.7 | -18.7 | -18.7 | -20.3 | -20.3 | -20.3 | -20.3 | -20.3 | -20.3 | -16.2 | -16.2 | -16.2 | -16.2 | -16.2 | -16.2 | -17 | -17 | -17 | -17 | -17 | -17
%,FACCOUNT,V036230 | 40.9 | 40.9 |  | Amount in Base Rate Mills per kWh | 40.9 | 40.9 |  | - | 40.9 |  | 40.9 |  |  |  | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9
%,FACCOUNT,V011B1H,V011A3H,V011A5H,V011C3H,V011C5H,V011D3H,V011D5H | 222656 | 227935 | -5279 | Solar kWh Billed | 1986802 | 1973901 | 12901 | 0.65358 | 1986802 |  | 1973901 | 12901 |  |  | 222656 | 192288 | 194126 | 175698 | 196136 | 179936 | 91793 | 96764 | 125119 | 154684 | 162080 | 195522 | 227935 | 214703 | 224479 | 149204 | 136600 | 121957 | 113047 | 102635 | 123024 | 158654 | 181459 | 220204
| 18146.464 | 18576.7025 | -430.2385 | Solar Fuel Recovery Credit | 161924.363 | 160872.9315 | 1051.4315 | 0.65358 | 161924.363 |  | 160872.9315 | 1051.4315
| -2778695.48 | -7270689 | 4491993.52 | Fuel Adjustment Recovery (Over) Under | -2778695.48 | -7270689 | 4491993.52 | 61.7822 | -2778695.48 |  | -7270689 | 4491993.52 | 50
%,FACCOUNT,V036150 | 832000 | 777000 |  |  | 8024000 | 7138000 |  |  | 8024000 |  | 7138000 |  |  |  | 832000 | 831000 | 834000 | 841000 | 667000 | 664000 | 577000 | 635000 | 418000 | 615000 | 594000 | 516000 | 777000 | 794000 | 837000 | 814000 | 425000 | 384000 | 558000 | 377000 | 395000 | 447000 | 535000 | 795000
| 832000 | 777000 | 55000 | Maximum Peak Load Generated/Gross | 841000 | 837000 | 4000 | - | 841000 |  | 837000 | 4000
%,FACCOUNT,V036105 | 287662000 | 261558000 | 26104000 | System Load | 3201765000 | 3189863000 | 11902000 | - | 3201765000 |  | 3189863000 | 11902000 |  |  | 287662000 | 345559000 | 332024000 | 303229000 | 233190000 | 219008000 | 230326000 | 265822000 | 270223000 | 256531000 | 223061000 | 235130000 | 261558000 | 313185000 | 342483000 | 296092000 | 234056000 | 212891000 | 237932000 | 256559000 | 277046000 | 263691000 | 246088000 | 248282000
%,FACCOUNT,V036190 | 1120000 | 1120000 |  | Generating Capacity - kW | 1120000 | 1120000 |  |  | 1120000 |  | 1120000 |  |  |  | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000
%,FACCOUNT,V036200 | 50000 | 50000 |  | SWPA Contract - kW | 50000 | 50000 |  |  | 50000 |  | 50000 |  | 55 |  | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 55300 | 55300 | 55300 | 55300 | 55300 | 55300 | 55300 | 55300
%,FACCOUNT,V036175 | 46170 | 50000 | -3830 | Smoky Hills Contract-kW | 46170 | 50000 | -3830 |  | 46170 |  | 50000 | -3830 | 58 |  | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
%,FACCOUNT,V036205 | 200000 | 200000 |  | Frontier Wind - kW | 200000 | 200000 |  |  | 200000 |  | 200000 |  | 58 |  | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000
%,FACCOUNT,V036206 | 97650 | 97650 |  | Diamond Vista Wind - kW | 97650 | 97650 |  |  | 97650 |  | 97650 |  | 58 |  | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650
%,FACCOUNT,V036215 | 4950 | 4950 |  | Strata Solar - kW | 4950 | 4950 |  |  | 4950 |  | 4950 |  | 58 |  | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950
* Excludes Noble Hill Landfill Renewable Energy Center