## Sheet1
%,FCURRENCY_CD,VUSD,V,FPRODUCT,TBUS_ENTITY,NELECTRIC | %,LSTATS,SPER | %,LSTATS,SPER-1YR |  |  | %,LSTATS,SFYTD |  | %,LSTATS,SFYTD-1YR |  |  | %,LSTATS,S12MO |  | %,LSTATS,S12MO-1 |  |  |  | %,LSTATS,SPER | %,LSTATS,SPER-1 | %,LSTATS,SPER-2 | %,LSTATS,SPER-3 | %,LSTATS,SPER-4 | %,LSTATS,SPER-5 | %,LSTATS,SPER-6 | %,LSTATS,SPER-7 | %,LSTATS,SPER-8 | %,LSTATS,SPER-9 | %,LSTATS,SPER-10 | %,LSTATS,SPER-11 | %,LSTATS,SPER-12 | %,LSTATS,SPER-13 | %,LSTATS,SPER-14 | %,LSTATS,SPER-15 | %,LSTATS,SPER-16 | %,LSTATS,SPER-17 | %,LSTATS,SPER-18 | %,LSTATS,SPER-19 | %,LSTATS,SPER-20 | %,LSTATS,SPER-21 | %,LSTATS,SPER-22 | %,LSTATS,SPER-23
| Form 441B |  | City Utilities of Springfield | [7 empty] | HIDDEN | HIDDEN |  | September, 2022 | September, 2022
|  |  | Electric Statistics | [11 empty] | 2022-09-30
12
2022
| Month of September |  |  |  | Fiscal Year to Date Through September 30 |  |  |  |  | Twelve Months Ended September 30
|  |  | Change from |  |  |  |  | Change from | % |  |  |  | Change from
| This Year | Last Year | Last Year |  | This Year |  | Last Year | Last Year | Change | This Year |  | Last Year | Last Year | Notes
%,FACCOUNT,V036020 | 162 | 197 | -35 | New Meter Sets Connected | 1756 |  | 2189 | -433 | -19.7807 | 1756 |  | 2189 | -433 |  |  | 162 | 136 | 166 | 158 | 138 | 170 | 125 | 173 | 122 | 105 | 163 | 138 | 197 | 122 | 138 | 214 | 109 | 226 | 206 | 144 | 275 | 214 | 176 | 168
%,FACCOUNT,V036030 | 281 | 413 | -132 | Read and Change Name | 3718 |  | 4670 | -952 | -20.3854 | 3718 |  | 4670 | -952 |  |  | 281 | 395 | 244 | 321 | 252 | 244 | 329 | 321 | 265 | 286 | 345 | 435 | 413 | 520 | 330 | 704 | 323 | 312 | 347 | 464 | 362 | 279 | 281 | 335
%,FACCOUNT,V036040 | 199 | 212 | -13 | Total Customers Connected/Disconnected | 2162 |  | 2367 | -205 | -8.6608 | 2162 |  | 2367 | -205 |  |  | 199 | 221 | 141 | 170 | 190 | 232 | 206 | 76 | 126 | 194 | 196 | 211 | 212 | 219 | 212 | 226 | 211 | 172 | 223 | 91 | 123 | 164 | 189 | 325
| 45 | 92 | -47 | Net Gain (Loss) in Customers | 750 |  | 1368 | -618 | -45.1754 | 750 |  | 1368 | -618
%,FACCOUNT,V036050 | 119444 | 118694 | 750 | Total Customers | 119444 |  | 118694 | 750 | 0.63188 | 119444 |  | 118694 | 750 |  |  | 119444 | 119399 | 119300 | 119241 | 119173 | 119123 | 119059 | 118920 | 118933 | 118892 | 118782 | 118704 | 118694 | 118602 | 118604 | 118487 | 118373 | 118361 | 118183 | 118123 | 118029 | 117798 | 117607 | 117470
%,FACCOUNT,V036060 | 27281 | 27161 | 120 | Transformers in Service | 27281 |  | 27161 | 120 | - | 27281 |  | 27161 | 120 |  |  | 27281 | 27248 | 27264 | 27249 | 27223 | 27208 | 27198 | 27210 | 27185 | 27194 | 27208 | 27210 | 27161 | 27121 | 27114 | 27121 | 27124 | 27102 | 27101 | 27079 | 27071 | 27069 | 27061 | 27006
%,FACCOUNT,V036070 | 1983856 | 1951566 | 32290 | kV Capacity of Transformers | 1983856 |  | 1951566 | 32290 |  | 1983856 |  | 1951566 | 32290 |  |  | 1983856 | 1977171 | 1974721 | 1973651 | 1970216 | 1966886 | 1961766 | 1961317 | 1958958 | 1959013 | 1958478 | 1956908 | 1951566 | 1946241 | 1940115 | 1934097 | 1928502 | 1925557 | 1924787 | 1916007 | 1910992 | 1910544 | 1906551 | 1901965
| 1983856 | 1951566 | 32290 | kVA Capacity of Transformers | 1983856 |  | 1951566 | 32290 | 1.6546 | 1983856 |  | 1951566 | 32290
%,FACCOUNT,V036080 | 23037 | 22864 | 173 | Street Lights in Service | 23037 |  | 22864 | 173 | 0.75665 | 23037 |  | 22864 | 173 |  |  | 23037 | 23032 | 23019 | 23014 | 23018 | 23013 | 22984 | 22988 | 22985 | 22980 | 22864 | 22864 | 22864 | 22864 | 22864 | 22864 | 22849 | 22842 | 22825 | 22823 | 22778 | 22744 | 22739 | 22720
%,FACCOUNT,V036340 | 574.49 | 567.01 | 7.48 | Miles of Underground Distribution Line | 574.49 |  | 567.01 | 7.48 | 1.3192 | 574.49 |  | 567.01 | 7.48 |  |  | 574.49 | 574.49 | 574.49 | 574.49 | 574.29 | 573.74 | 572.56 | 569.23 | 568.15 | 567.79 | 567.79 | 567.18 | 567.01 | 566.49 | 565.54 | 563.21 | 561.26 | 560.64 | 560.32 | 559.9 | 558.87 | 556.45 | 555.35 | 554.16
%,FACCOUNT,V036330 | 1275.6 | 1269.75 | 5.85 | Miles of Overhead Distribution Line | 1275.6 |  | 1269.75 | 5.85 | - | 1275.6 |  | 1269.75 | 5.85 |  |  | 1275.6 | 1275.6 | 1275.6 | 1275.6 | 1270.81 | 1270.14 | 1270.1 | 1269.89 | 1269.75 | 1270.01 | 1269.68 | 1269.79 | 1269.75 | 1269.76 | 1270.1 | 1270.13 | 1270.03 | 1270 | 1270.02 | 1269.97 | 1270.06 | 1270.05 | 1269.16 | 1268.97
| 1850.09 | 1836.76 | 13.33 | Total Miles of Distribution Line | 1850.09 |  | 1836.76 | 13.33 | 0.72573 | 1850.09 |  | 1836.76 | 13.33
%,FACCOUNT,V036354 | 92.22 | 92.22 |  | Miles of 69kV Transmission Line | 92.22 |  | 92.22 |  | - | 92.22 |  | 92.22 |  |  |  | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22 | 92.22
%,FACCOUNT,V036352 | 73.65 | 73.65 |  | Miles of 161kV Transmission Line | 73.65 |  | 73.65 |  | - | 73.65 |  | 73.65 |  |  |  | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65 | 73.65
%,FACCOUNT,V036350 | 44.2 | 44.2 |  | Miles of 345kV Transmission Line | 44.2 |  | 44.2 |  | - | 44.2 |  | 44.2 |  |  |  | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.2 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21 | 44.21
| 210.07 | 210.07 |  | Total Miles of Transmission Line | 210.07 |  | 210.07 |  | - | 210.07 |  | 210.07
| 677000 | 636000 | 41000 | Maximum Hourly Peak Load Used | 776000 |  | 721000 | 55000 | 7.6283 | 776000 |  | 721000 | 55000
| 57.78 | 62.75 | -4.97 | Load Factor Percent | 48.52 |  | 50.61 | -2.09 | -4.1296 | 48.52 |  | 50.61 | -2.09
%,FACCOUNT,V036120 | 197 | 270 | -73 | Cooling Degree Days - Actual | 1790 |  | 1574 | 216 | 13.723 | 1790 |  | 1574 | 216 |  |  | 197 | 435 | 581 | 350 | 151 | 24 | 0 | 0 | 0 | 0 | 0 | 52 | 270 | 451 | 398 | 322 | 73 | 14 | 0 | 0 | 0 | 0 | 4 | 42
%,FACCOUNT,V036260 | 196 | 196 |  | Cooling Degree Days - Normal | 1540 |  | 1519 | 21 | 1.3825 | 1540 |  | 1519 | 21 |  |  | 196 | 410 | 440 | 302 | 116 | 27 | 5 | 1 | 0 | 0 | 3 | 40 | 196 | 410 | 440 | 302 | 116 | 22 | 3 | 0 | 0 | 0 | 2 | 28
| 10378 | 10429 | -51 | BTU per kWh Generated * | 10610 |  | 10562 | 48 | - | 10610 |  | 10562 | 48
Fuel And Purchased Power:
%,FACCOUNT,V036130 | -13.9 | -18.7 | 4.8 | Adjustment Mills per kWh | -13.9 |  | -18.7 | 4.8 | 25.6684 | -13.9 |  | -18.7 | 4.8 |  |  | -13.9 | -13.9 | -13.9 | -13.9 | -13.9 | -13.9 | -18.1 | -18.1 | -18.1 | -18.1 | -18.1 | -18.1 | -18.7 | -18.7 | -18.7 | -18.7 | -18.7 | -18.7 | -20.3 | -20.3 | -20.3 | -20.3 | -20.3 | -20.3
%,FACCOUNT,V036230 | 40.9 | 40.9 |  | Amount in Base Rate Mills per kWh | 40.9 |  | 40.9 |  | - | 40.9 |  | 40.9 |  |  |  | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9
%,FACCOUNT,V011B1H,V011A3H,V011A5H,V011C3H,V011C5H,V011D3H,V011D5H | 186460 | 222656 | -36196 | Solar kWh Billed | 1888595 |  | 1986802 | -98207 | -4.943 | 1888595 |  | 1986802 | -98207 |  |  | 186460 | 188812 | 199037 | 160816 | 159798 | 146885 | 132019 | 135163 | 123186 | 143411 | 125170 | 187838 | 222656 | 192288 | 194126 | 175698 | 196136 | 179936 | 91793 | 96764 | 125119 | 154684 | 162080 | 195522
| 15196.49 | 18146.464 | -2949.974 | Solar Fuel Recovery Credit | 153920.4925 |  | 161924.363 | -8003.8705 | -4.943 | 153920.4925 |  | 161924.363 | -8003.8705
| 13409485.33 | -2778695.48 | 16188180.81 | Fuel Adjustment Recovery (Over) Under | 13409485.33 |  | -2778695.48 | 16188180.81 | > 200 | 13409485.33 |  | -2778695.48 | 16188180.81 | 50
%,FACCOUNT,V036150 | 746000 | 832000 |  |  | 7531000 |  | 8024000 |  |  | 7531000 |  | 8024000 |  |  |  | 746000 | 776000 | 769000 | 789000 | 567000 | 448000 | 563000 | 574000 | 683000 | 561000 | 511000 | 544000 | 832000 | 831000 | 834000 | 841000 | 667000 | 664000 | 577000 | 635000 | 418000 | 615000 | 594000 | 516000
| 746000 | 832000 | -86000 | Maximum Peak Load Generated/Gross | 789000 |  | 841000 | -52000 | -6.1831 | 789000 |  | 841000 | -52000
%,FACCOUNT,V036105 | 281194000 | 287662000 | -6468000 | System Load | 3298911000 |  | 3201765000 | 97146000 | 3.0341 | 3298911000 |  | 3201765000 | 97146000 |  |  | 281194000 | 347906000 | 382464000 | 323271000 | 260338000 | 224784000 | 243927000 | 248583000 | 280515000 | 238677000 | 228569000 | 238683000 | 287662000 | 345559000 | 332024000 | 303229000 | 233190000 | 219008000 | 230326000 | 265822000 | 270223000 | 256531000 | 223061000 | 235130000
%,FACCOUNT,V036190 | 867000 | 1120000 | -253000 | Generating Capacity - kW | 867000 |  | 1120000 | -253000 |  | 867000 |  | 1120000 | -253000 |  |  | 867000 | 867000 | 867000 | 867000 | 867000 | 867000 | 867000 | 867000 | 867000 | 867000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000 | 1120000
%,FACCOUNT,V036200 | 50000 | 50000 |  | SWPA Contract - kW | 50000 |  | 50000 |  |  | 50000 |  | 50000 |  | 55 |  | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
%,FACCOUNT,V036175 | 46170 | 46170 |  | Smoky Hills Contract-kW | 46170 |  | 46170 |  |  | 46170 |  | 46170 |  | 58 |  | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 46170 | 50000 | 50000 | 50000
%,FACCOUNT,V036205 | 201300 | 200000 |  | Frontier Wind - kW | 201300 |  | 200000 | 1300 |  | 201300 |  | 200000 | 1300 | 58 |  | 201300 | 201300 | 201300 | 201300 | 201300 | 201300 | 201300 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000
%,FACCOUNT,V036206 | 97650 | 97650 |  | Diamond Vista Wind - kW | 97650 |  | 97650 |  |  | 97650 |  | 97650 |  | 58 |  | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650 | 97650
%,FACCOUNT,V036215 | 4950 | 4950 |  | Strata Solar - kW | 4950 |  | 4950 |  |  | 4950 |  | 4950 |  | 58 |  | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950 | 4950
* Excludes Noble Hill Landfill Renewable Energy Center
Maximum Hourly Peak Load Used
%,FACCOUNT,V036100 | 677000 | 636000 |  |  | 6711000 |  | 6394000 |  |  | 6711000 |  | 6394000 |  |  |  | 677000 | 737000 | 776000 | 727000 | 624000 | 410000 | 446000 | 502000 | 499000 | 423000 | 398000 | 492000 | 636000 | 721000 | 720000 | 687000 | 524000 | 396000 | 405000 | 546000 | 443000 | 436000 | 412000 | 468000
|  |  |  | Fiscal Year To Date Through | September | [10 empty] | 677000 | 737000 | 776000 | 727000 | 624000 | 410000 | 446000 | 502000 | 499000 | 423000 | 398000 | 492000 | 636000 | 721000 | 720000 | 687000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 468000 | 0
If current month is:
|  |  |  | October - March | 0 |  | 0
|  |  |  | April - September | 776000 |  | 721000
|  |  |  | Maximum during period | 776000 | 776000 | 721000
Maximum Peak Load Generated/Gross
|  |  |  | Fiscal Year To Date Through | September | [10 empty] | 746000 | 776000 | 769000 | 789000 | 567000 | 448000 | 563000 | 574000 | 683000 | 561000 | 511000 | 544000 | 832000 | 831000 | 834000 | 841000 | 667000 | 664000 | 577000 | 635000 | 418000 | 615000 | 594000 | 516000 | 0
If current month is:
|  |  |  | October - March | 0 |  | 0
|  |  |  | April - September | 789000 |  | 841000
|  |  |  | Maximum during period | 789000 | 789000 | 841000
Load Factor Calculation
| 677000 | 636000 |  | Maximum Hourly Peak Load Used | 776000 |  | 721000 |  |  | 776000 |  | 721000
| 720 | 720 |  | Number of hours in period | 8760 |  | 8760 |  |  | 8760 |  | 8760
| 487440000 | 457920000 |  | Max Hourly Peak X # of hours in period | 6797760000 |  | 6315960000 |  |  | 6797760000 |  | 6315960000
%,FACCOUNT,V03301A,V03302A,V03303A,V03304A,V03305A,V03306A,V03307A,V03303D | 354085000 | 282135000 | -71950000 | Gross Generated | 3006300000 |  | 2898057000 | -108243000 |  | 3006300000 |  | 2898057000 | -108243000 |  |  | 354085000 | 377750000 | 414383000 | 374804000 | 135567000 | 89690000 | 159915000 | 264010000 | 294679000 | 150325000 | 189288000 | 201804000 | 282135000 | 331999000 | 339298000 | 255371000 | 278937000 | 261986000 | 218679000 | 275046000 | 114788000 | 229058000 | 136116000 | 174644000
%,FACCOUNT,V03301B,V03303B,V03304B,V03305B,V03306B,V03307B,V03303E | 29357000 | 25930000 | -3427000 | Less: Station Auxiliaries | 257759000 |  | 260280000 | 2521000 |  | 257759000 |  | 260280000 | 2521000 |  |  | 29357000 | 30177000 | 32939000 | 30638000 | 13576000 | 6957000 | 16888000 | 24633000 | 25658000 | 14480000 | 15421000 | 17035000 | 25930000 | 28072000 | 30184000 | 23059000 | 27049000 | 23928000 | 22298000 | 23674000 | 10575000 | 20645000 | 13374000 | 11492000
%,FACCOUNT,V03301F,V03303F,V03304F,V03305F,V03306F | -78000 | -142000 | -64000 | Plus: Unallocated Auxiliaries | -1101000 |  | -280000 | 821000 |  | -1101000 |  | -280000 | 821000 |  |  | -78000 | -100000 | -105000 | -51000 | -69000 | -74000 | -123000 | -123000 | -147000 | -139000 | -21000 | -71000 | -142000 | -102000 | -66000 | -83000 | -101000 | 105000 | 21000 | 4000 | 10000 | 1000 | 34000 | 39000
| 324650000 | 256063000 | -68587000 | Net Generation | 2747440000 |  | 2637497000 | -109943000 |  | 2747440000 |  | 2637497000 | -109943000
%,FACCOUNT,TDFS_ACCOUNT,NRESALE | 153320000 | 97737000 | -55583000 | Less: For Resale | 1261077000 |  | 1330254000 |  |  | 1261077000 |  | 1330254000 |  |  |  | 153320000 | 107903000 | 118407000 | 147122000 | 61126000 | 73238000 | 85317000 | 121761000 | 135052000 | 85373000 | 87748000 | 84710000 | 97737000 | 112292000 | 97746000 | 80938000 | 173245000 | 186397000 | 153264000 | 117410000 | 40142000 | 98151000 | 74558000 | 98374000
%,FACCOUNT,V034010,V034020,V034087,V036253,V036255,V034050,V034093,V034098,V034092,V034099,V034091,V034094,V034095 | 110316559 | 129011549 | 18694990 | Purchased Power: | 1812241044 |  | 1889046399 | 76805355 |  | 1812241044 |  | 1889046399 | 76805355 |  |  | 110316559 | 110343571 | 120569515 | 129665483 | 199611944 | 210589110 | 176743729 | 140026802 | 145519814 | 187478902 | 142889310 | 138486305 | 129011549 | 153374479 | 119641109 | 151285649 | 155431351 | 161415146 | 191437699 | 131202175 | 206073791 | 146518601 | 174240226 | 169414624
| 281646559 | 287337549 | 5754990 | Total Load | 3298604044 |  | 3196289399 | -33958645 |  | 3298604044 |  | 3196289399 | -33958645
2016
|  |  |  | Last Day of Prior Year | 2021-09-30 |  | 2020-09-30 |  |  | 2021-09-30 |  | 2020-09-30
|  |  |  | As Of Date | 2022-09-30 |  | 2021-09-30 |  |  | 2022-09-30 |  | 2021-09-30
|  |  |  | Fiscal Year To Date Through | September | [6 empty] | 2016-03-31
|  |  |  | Number of Days Fiscal Year To Date | [7 empty] | 2015-10-01
|  |  |  | October - March | 182 | [6 empty] | 183
|  |  |  | April - September | 183
[5 empty] | 365 |  | 365
Number of Electric Customers
| 119444 | 118694 |  | This Year | 119444 |  | 118694 |  |  | 119444 |  | 118694
| 119399 | 118602 |  | Last Year | 118694 |  | 117326 |  |  | 118694 |  | 117326
| 45 | 92 |  | Net Gain in Customers | 750 |  | 1368 |  |  | 750 |  | 1368
BTU per KWh Net Generated
Note: Prior to CISPlus the information below was loaded to stat account 036220
|  |  |  | Fiscal Year To Date Through | September
%,LSTATS,FACCOUNT,V03111A | 0 | 0 |  | JR Natl Gas | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%,LSTATS,R,FACCOUNT,V03113C | 0 | 0 |  | JR Coal Tons Burned | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%,LSTATS,FACCOUNT,V032130 | 0 | 0 |  | JR Average BTU per pound | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | If April - September | 0 |  | 0
| 0 | 0 |  | JR BTU/KWH Gen - Coal | 0 |  | 0 |  |  | 0 |  | 0
%,LSTATS,R,FACCOUNT,V03112C | 0 | 0 |  | JR Liq Propane - Gal Burned | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 91600 | 91600 |  | JR Propane Average BTU | 91600 |  | 91600 |  |  | 91600 |  | 91600
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | If April - September | 0 |  | 0
| 0 | 0 |  | JR BTU/KWH Gen - Propane | 0 |  | 0 |  |  | 0 |  | 0
%,LSTATS,R,FACCOUNT,V03124C | 0 | 0 |  | MAG Fuel Oil Burned | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%,LSTATS,FACCOUNT,V032240 | 0 | 0 |  | MAG Fuel Oil Average BTU | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | If April - September | 0 |  | 0
| 0 | 0 |  | MAG BTU/KWH Gen - Fuel Oil | 0 |  | 0 |  |  | 0 |  | 0
%,LSTATS,FACCOUNT,V03131A | 41000 | 143219 |  | SW Natl Gas | 569067 |  | 644492 |  |  | 569067 |  | 644492 |  |  |  | 41000 | 41363 | 7119 | 14770 | 55600 | 35244 | 77129 | 142489 | 90753 | 41373 | 8488 | 13739 | 143219 | 225484 | 20875 | 21590 | 44576 | 29561 | 27131 | 27708 | 19284 | 24778 | 19347 | 40939
%,LSTATS,R,FACCOUNT,V03133C | 165003.99 | 127473.14 |  | SW Coal Ton Burned | 1385706.87 |  | 1340308.61 |  |  | 1385706.87 |  | 1340308.61 |  |  |  | 165003.99 | 183010.2 | 184308.19 | 172068.73 | 64852.61 | 31453.25 | 77902.63 | 125532.53 | 130790.01 | 68671.72 | 87320.18 | 94792.83 | 127473.14 | 132954.15 | 163115.68 | 115197.21 | 141071.56 | 127995.79 | 112911.72 | 131254.41 | 55489.23 | 112298.08 | 65035.03 | 55512.61
%,LSTATS,FACCOUNT,V032330 | 8841.62 | 8863.21 |  | SW Coal BTU | 106579.23 |  | 106569.5 |  |  | 106579.23 |  | 106569.5 |  |  |  | 8841.62 | 8942.87 | 8830.06 | 8830.62 | 8876.26 | 8952.4 | 8971.94 | 8923.88 | 8965.02 | 8769.19 | 8810.1 | 8865.27 | 8863.21 | 8854.79 | 8873.55 | 8967.69 | 8863.54 | 8858.85 | 8810.96 | 8762.38 | 8687.42 | 8911.83 | 9095.8 | 9019.48
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 2.9178e+12 | 3.2733e+12 | 3.2549e+12 | 3.0389e+12 | 1.1513e+12 | 563164150600 | 1.3979e+12 | 2.2405e+12 | 2.3451e+12 | 1.2044e+12 | 1.5386e+12 | 1.6807e+12 | 2.2596e+12 | 2354562155757 | 2.8948e+12 | 2.0661e+12 | 2.5008e+12 | 2.2678e+12 | 1.9897e+12 | 2.3002e+12 | 964116492973.2001 | 2.0016e+12 | 1.1831e+12 | 1.0014e+12
|  |  |  | If April - September | 24606529.15 |  | 23783802.0569
| 2917805 | 2259642 |  | SW BTU/KWH Gen - Coal | 24606529.15 |  | 23783802.0569 |  |  | 24606529 |  | 23783802
%,LSTATS,FACCOUNT,V03141A | 119010 | 84612 |  | SWGT Natl Gas | 1097439 |  | 844900 |  |  | 1097439 |  | 844900 |  |  |  | 119010 | 144454 | 143294 | 102405 | 28075 | 116252 | 26615 | 31064 | 177296 | 42582 | 100181 | 66211 | 84612 | 145458 | 101743 | 125121 | 6040 | 68879 | 9714 | 34303 | 9373 | 3 | 24663 | 234991
%,LSTATS,R,FACCOUNT,V03144C | 0 | 0 |  | SWGT Fuel Oil Burned | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%,LSTATS,FACCOUNT,V032440 | 138200 | 138200 |  | SWGT Fuel Oil BTU | 1658400 |  | 1658400 |  |  | 1658400 |  | 1658400 |  |  |  | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | If April - September | 0 |  | 0
| 0 | 0 |  | SWGT BTU/KWH Gen - Fuel Oil | 0 |  | 0 |  |  | 0 |  | 0
%,LSTATS,FACCOUNT,V03151A | 167392 | 117993 |  | JRGT - Natl Gas | 1746534 |  | 1700283 |  |  | 1746534 |  | 1700283 |  |  |  | 167392 | 342355 | 400246 | 265330 | 61699 | 121210 | 24668 | 22599 | 150931 | 83841 | 60249 | 46014 | 117993 | 243695 | 150535 | 223183 | 41026 | 53604 | 15518 | 36409 | 60131 | 92773 | 127378 | 538038
%,LSTATS,R,FACCOUNT,V03154C | 0 | 0 |  | JRGT Fuel Oil Burned | 409961 |  | 2021468 |  |  | 409961 |  | 2021468 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 409508 | 453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1985975 | 0 | 0 | 27305 | 8188
%,LSTATS,FACCOUNT,V032540 | 138200 | 138200 |  | JRGT Fuel Oil BTU | 1658400 |  | 1658400 |  |  | 1658400 |  | 1658400 |  |  |  | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200 | 138200
|  |  |  | FYTD: If October - March | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56594005600 | 62604600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 274461745000 | 0 | 0 | 3773551000 | 1131581600
|  |  |  | If April - September | 56656.6102 |  | 279366.8776
| 0 | 0 |  | JRGT BTU/KWH Gen - Fuel Oil | 56656.6102 |  | 279366.8776 |  |  | 56657 |  | 279367
%,LSTATS,FACCOUNT,V03161A | 123923 | 57918 |  | MGS - Natl Gas | 1005401 |  | 482776 |  |  | 1005401 |  | 482776 |  |  |  | 123923 | 139759 | 135552 | 145498 | 56458 | 115332 | 18389 | 43811 | 70664 | 68920 | 39294 | 47801 | 57918 | 88947 | 32698 | 78331 | 9844 | 19756 | 9854 | 24048 | 18298 | 27374 | 15125 | 100583
| 3369130 | 2663384 |  | Sum | 29081626.7602 |  | 27735619.9345 |  |  | 29081627 |  | 27735620
%,FACCOUNT,V03301A,V03302A,V03303A,V03304A,V03305A,V03306A | 354085000 | 281458000 |  | Gross Generated (excl Noble Hill) | 2999710000 |  | 2886495000 |  |  | 2999710000 |  | 2886495000 |  |  |  | 354085000 | 377750000 | 414383000 | 374804000 | 135567000 | 89649000 | 159205000 | 263062000 | 292821000 | 149473000 | 188367000 | 200544000 | 281458000 | 330824000 | 338623000 | 255142000 | 277011000 | 260364000 | 216866000 | 274237000 | 114174000 | 227879000 | 135786000 | 174131000
%,FACCOUNT,V03301B,V03302B,V03303B,V03304B,V03305B,V03306B | 29357000 | 25930000 |  | Less: Station Auxiliaries | 257759000 |  | 260280000 |  |  | 257759000 |  | 260280000 |  |  |  | 29357000 | 30177000 | 32939000 | 30638000 | 13576000 | 6957000 | 16888000 | 24633000 | 25658000 | 14480000 | 15421000 | 17035000 | 25930000 | 28072000 | 30184000 | 23059000 | 27049000 | 23928000 | 22298000 | 23674000 | 10575000 | 20645000 | 13374000 | 11492000
%,FACCOUNT,V03301F,V03303F,V03304F,V03305F,V03306F | -78000 | -142000 |  | Unallocated Auxiliaries | -1101000 |  | -280000 |  |  | -1101000 |  | -280000 |  |  |  | -78000 | -100000 | -105000 | -51000 | -69000 | -74000 | -123000 | -123000 | -147000 | -139000 | -21000 | -71000 | -142000 | -102000 | -66000 | -83000 | -101000 | 105000 | 21000 | 4000 | 10000 | 1000 | 34000 | 39000
| 324650000 | 255386000 | 0 | Net Generated | 2740850000 |  | 2625935000 | 0 |  | 2740850000 |  | 2625935000
Formulas:
This Year = DATE(YEAR([This Year, row below])-1,MONTH([This Year, row below])+1,1)-1
Last Year = DATE(YEAR([Last Year, row below])-1,MONTH([Last Year, row below])+1,1)-1
Last Year = DATE(YEAR([This Year])-1,MONTH([This Year])+1,1)-1